## Slide 1: Ilastik
Benjamin PAVIE
2026
User-friendly machine-learning-based image analysis
Benjamin.pavie@vib.be

## Slide 2: Segmentation is THE bottleneck of image analysis

## Slide 3
Ilastik: Segmentation for the people
3
2011 doi: 10.1109/ISBI.2011.5872394
Anna Kreshuk

## Slide 4: Ilastik
Installation
Installer : https://www.ilastik.org/download
Documentation : https://www.ilastik.org/documentation/
Forum : https://forum.image.sc/tag/ilastik/527

## Slide 5
Machine Leaning in Image Analysis
Probability Mask
Machine Learning
Raw Image
Generic
Filters
Hessian of Gaussian EigenValues
Gaussian Gradient magnitude
Gaussian Blur
…

## Slide 6: Ilastik Worflows
Segmentation
Post-Segmentation
Pixel classification
Object classification
Object Tracking
Boundary-based
Segmentation
Carving Segmentation
Neural Network
segmentaton

## Slide 7: Ilastik Worflows
Segmentation
Post-Segmentation
Pixel classification
Object classification
Object Tracking
Boundary-based
Segmentation
Carving Segmentation
Neural Network
segmentaton

## Slide 8: Ilastik Worflows

## Slide 9: Pixel Classifier
Supported image formats :
Block formats :
HDF5,
Zarr
Generic formats :
TIF/TIFF (2D and stack)
PNG
GIF
Loading images
Data>00_2d_example>nuclei_D_AlessioSilva.tif
Add training image as separate image(s)

## Slide 10: Pixel Classifier
Features are the eyes of Ilastik:
  Color/intensity
  Edge
  Texture/granularity
  Scale (sigma, 2D/3D)
37 total features by default
adding larger σ is possible
Feature Selection

## Slide 11: Pixel Classifier
If you have less that the sigma size number of height/width pixels or Z slices,
it will give you an error that gets solved by ticking off the sigma that is too large for your data.
Feature Selection

## Slide 12: Pixel Classifier
Features
Raw itensity
Ilastik does not take calibration into account.
Be careful in 3D.
Feature Selection
Features along with their σ are located in the bottom left.
Click on them to visualize the effect of the filter

## Slide 13: Pixel Classifier
The Ilastik viewer
Useful shortcuts:
Shortcut | Function
Ctrl + mouse wheel | Zoom in and out
Shift + left click drag | Move in XY
Mouse wheel | Move in Z or in T

## Slide 14: Pixel Classifier
Training
navigation
brush
eraser
B&C
Brush size
Tools
Classes

## Slide 15: Pixel Classifier
Training Layers
Probability
Segmentation
Uncertainty

## Slide 16: Pixel Classifier
Prediction Export
Multiple Type :
Probabilities
Simple Segmentation
Uncertainty
Features and Labels
Probabilities vs segmentation :
Ilastik outputs a Probability Map -> For each pixel, output a value between 0 and 1 representing the probability to be part of class
  For example: a pixel might be 0.85 Nucleus, 0.03 Background.
To get a segmentation, Ilastik applies a threshold to the probability map (eg 0.4)
Click “Export All” to apply the classifier to all the training data

## Slide 17: Exercice : Pixel Classifier of a 3D dataset
Data>00_2d_example>nuclei_D_AlessioSilva.tif
Sample from
Alessio Silva

## Slide 18: Exercice : Pixel Classifier of a 3D dataset
Data>00_2d_example>nuclei_D_AlessioSilva.tif
1/ Load the data
2/ Select the features
3/ Define the classes
3/ Draw Labels
3/ Preview Segmentation
4/ Export result

## Slide 19: Creating an Ilastik Object Classifier Model
Create new object classification project
There are two pipelines:
  Object creation from probability map + classification
  Objects segmented by the user elsewhere + classification

## Slide 20: Input data
Add the intensity images in the raw data section. (this data can include more channels than the data used for training the pixel classifier)
Add the corresponding probability images in the prediction maps section
data\02_demo_ObjClass_3Dnuclei\training_data\
nuclei_3D_isotropic_AlessioSilva.h5
nuclei_3D_isotropic_data_Probabilities.h5

## Slide 21: Object Creation: Threshold and Size filter
If you have objects that are not touching. Use the Simple method.
The input should be the class you want to create an object from.
You can smooth the probability map
If you want to see the effects of the size filter and the smoothing check the “Show intermediate results” box.
nuclei_3D_isotropic_AlessioSilva.h5

## Slide 22: Viewer
Viewer preview when “Show intermediate results is active”
Separated objects have individual labels and hence different colours
Object 1
Object 2
No object

## Slide 23: How to separate touching objects
To separate touching objects change the Thresholding method to Hysteresis
Hysteresis uses a higher threshold to create seeds and then grows them until reaching the second threshold. This method is known as marker seeded watershed (a.k.a. seeded region growing).
Simple threshold
Hysteresis threshold

## Slide 24: Object feature selection
Compute features to be to train a classifier
As before, define what would be the best features to differentiate your classes
For neighbourhood features, size can be changed
Default selection recommended

## Slide 25: Object classification – Training the classifier
Training is done like the pixel classifier but here you click on objects instead of pixels.
Visualize objects as Binary image or with a random colour (Object Identity)
Use the uncertainty to guide your annotations.
If no need of the classification, only annotate your class and export the object measurements
Prediction binary
Object identity

## Slide 26: Object information export
Export predictions or probabilities and also export the object identities to do further measurements elsewhere.
Ilastik can export the feature table containing all of the selected features. ( select them in “Configure Feature Table Export”)
This configuration can be used for the batch processing tab too

## Slide 27: Blockwise object classification
Standard object classification in Ilastik is limited by RAM. For large dataset, select the “Blockwise Object Classification” method.
Blocksize should be small to fit memory but large enough not to miss-segment objects.
Be sure to select blockwise in the object information export tab.
https://www.ilastik.org/documentation/objects/objects

## Slide 28: Further learning
https://www.ilastik.org/documentation/carving/carving
https://www.ilastik.org/documentation/tracking/tracking
EM boundary based segmentation in 3D
Tracking
https://imagej.net/plugins/tws/
https://github.com/ilastik/ilastik-napari
https://qupath.github.io/
Other classifiers
https://www.youtube.com/watch?v=F6KbJ487iiU
https://www.ilastik.org/documentation/

## Slide 29
Benjamin.Pavie@vib.be